## NCHRP 20-7

## Proposed Research Needs Statement

## Subcommittee on Right of Way, Utilities, and Outdoor Advertising Control

## August 8, 2014

# TITLE

Best Practices:  Encasement requirements and allowances for water mains and pressurized sanitary sewer mains, including of the use of PVC and HPDE as encasement materials.

BACKGROUND / NEEDS STATEMENT

State DOTs are increasingly being asked to allow PVC and HPDE mains to cross under highways and the request often is accompanied with the request to allow encasements of the same materials.  This leaves states handling this issue many different ways.  Some are allowing installations on a per location assessment and granting few to many variances to a more restrictive policy, some require steel encasement in every case, some allow PVC and HDPE if the Diameter Ratio (DR) is low enough.  Many states do require industry standards to be followed but it is not clear what these standards really are or is there really a standard that addresses the crossings of water mains under highways that is based on stresses and engineering evaluation. Some guidance on industry standards and applicability to highways would be a part of research.  The “plastic” pipe is desired for crossings as it is less expensive and should last have fewer corrosion issues than steel or cast iron pipe.  The “plastic” materials have a long enough service record and have enough history to now be evaluated where in the past that was not the case.

The purpose of this research is to survey state policies and practices and identify “best practices” for encasing pressurized water and sewer mains.  This may include procedures for allowing variances to the policy and how exceptions are granted.  This will primarily be directed at DHH or other trenchless installation methods.  Some study of reported failures will likely be necessary to support restrictions in the future or justify the final position.

RESEARCH OBJECTIVE

Provide an exhaustive compilation of what states are doing with encasement requirements on pressurized water and sewer mains.  This will include policies and if there is an exception processes.  Summarizing the references to applicable industry standards and the codes that must be conformed to will be required.  The end product will be a listing of best practices and a short tutorial on the industry standards and codes and what they require.

# WORK TASKS

Tasks anticipated in this project include the best practices in the following areas related to encasement requirements or lack there-of for pressurized water and sewer mains:

- Identify and compile state policies and procedures relating to code sections and industry standards referenced in the encasement policies relating to water and sewer main crossings:

  - Permitting language dealing with the issue;

  - Policy and code sections that address the issue.

- Survey all states and follow up as necessary to identify and compile best practices and policies related to the following areas:

  - Permitting of pressurized water and sewer mains;

  - Code sections that address the issue;

  - Dealing with exceptions and how often that is occurring;

  - Plans for future changes to the policy to accommodate more or less encasements.

- Identify issues that need further attention, if any.

- Write and publish a best practices guide as a reference for developing state requirements and policies related to encasement requirements for pressurized water and sewer main crossings.  Included a tutorial of pertinent industry standards and codes that are referenced by states.

# URGENCY

More utilities are using PVC and HDPE in the majority of their water and sewer applications and the states have often been slow to recognize the new technology and its ability to protect roadways.  More information is needed by states to let them confidently allow or deny the use of the ‘plastic’ pipes for encasements and carrier pipe.  This information will be valuable to decision makers in protecting the integrity of highway infrastructure and may allow the use of the least expensive and longest lasting main materials and encasement materials for these installations

### FUNDING REQUESTED AND TIME REQUIRED

It is estimated that this research will take 12 months to complete and will require $98,000.

### CONTACT PERSON

Ahmer Nizam

nizama@wsdot.wa.gov

Bryan Bradley

bryan.bradley@iowa.gov